[image: image1.jpg]



LACONIA FIRE DEPARTMENT

Motorcycle Week Propane Tank Permitting
2025
Minimum size temporary tank is 23 gallons (100 LBS.)
Maximum size tank is 100 gallons (420 LBS.)
The following exceptions apply: 

Tanks permanently attached to food service trailers, 2 40-lbs cylinders 
maximum.

20 lbs cylinders supplying residential gas grills or portable food carts, 2 
cylinders maximum per site.

Tanks shall be on a firm surface and shall not be located along or under any walkway or customer service area.

Tanks shall be secured (chained or otherwise constrained) to a substantial object.

Tanks shall be attached to appliances via a rubber hose assembly.  Larger venues may use black iron pipe where necessary.
All installations are subject to inspection and approval of the Laconia Fire Department.

Tanks shall NOT be filled or moved during normal operating hours or at times of increased public activity.

Tanks shall be removed within 24 hours of the conclusion of the event.

[image: image2.png]Description and Size

16407 mm
= of 420# L.P.G. Cylinder Openings

A: Safety Relief Valve (1) NPT
B:Fill Valve (3/4") NPT
C: NPT Float Gauge (1") NPT
D: Vapor Service Valve (3/4”) NPT

€

£

2 €

< £

i §

420 Ib.



[image: image3.png]S

O ot v Gao Pl 485 1257

100 Ib.




[image: image4.png]1610607

200 Ib.

Description and Size of
200¢ L.P.G. Cylinder Openings
A:Muti-Valve

(347 NPT
B:NPT Float Gauge

")NPT

24 sE10mm




�





�

















�








